Laboratory Experiment 8

Synchronous Generators

Objectives:  To obtain the effect of sudden short-circuit on a synchronous generator output.

Laboratory Tasks and Report:

- Model a short-circuit on a synchronous generator as described by the PSCAD/EMTDC file SynchGen.psc.  Obtain various waveforms and comment on them. See video clip# 11.

- Plot Ef/Xd” , Ef/Xd’, Ef/Xd and Phase A line current together, to verify the peak current transition at the three transient modes.

SynchGen.psc