## Explanation

In most cases, the transfer function of a system is linear and time-invariant. When a signal passes through a non-linear device, additional content is added at the harmonics of the original frequencies. THD is a measurement of the extent of that distortion.

The measurement is most commonly the ratio of the sum of the powers of all harmonic frequencies above the fundamental frequency to the power of the fundamental:

Other calculations for amplitudes, voltages, currents, and so forth are equivalent. For a voltage signal, for instance, the ratio of the squares of the RMS voltages is equivalent to the power ratio:

In this calculation, Vn means the RMS voltage of harmonic n, where n=1 is the fundamental harmonic. One can also calculate THD using all harmonics (n=∝):

Other definitions may be used. Many authors define THD as an amplitude ratio rather than a power ratio. This results in a definition of THD which is the square root of that given above. For example in terms of voltages the definition would be:

This latter definition is commonly used in audio distortion (percentage THD) specifications. It is unfortunate that these two conflicting definitions of THD (one as a power ratio and the other as an amplitude ratio) are both in common usage. Fortunately, if the THD is expressed in dB, then both definitions are equivalent. This is not the case if the THD is expressed as a percentage. The power THD can be higher than 100% and is known as IEEE, but for audio measurements 100% is preferred as maximum, thus the IEC version is used (Rohde & Schwartz, Bruel and Kjær use it).

A measurement must also specify how it was measured. Measurements for calculating the THD are made at the output of a device under specified conditions. The THD is usually expressed in percent as distortion factor or in dB as distortion attenuation. A meaningful measurement must include the number of harmonics included.